## Features
Module II HGNN input features: 7,800-scenario experiment
Inputs are available before realized initial component damage. Seven static and four exposure features are encoded separately on 4,894 substation nodes.
No. | Feature level | Feature name | Input status | Brief meaning
1 | Node-static | log1p_power_degree | Active ex-ante input | Log(1 + power-network degree) of the substation.
2 | Node-static | log1p_incident_branch_capacity | Active ex-ante input | Log(1 + sum of ratings of incident power branches).
3 | Node-static | mean_absolute_reactance | Active ex-ante input | Mean absolute reactance of incident power branches.
4 | Node-static | log1p_generator_count | Active ex-ante input | Log(1 + number of associated generators).
5 | Node-static | log1p_installed_pmax | Active ex-ante input | Log(1 + total installed generation capacity).
6 | Node-static | log1p_gas_linked_generator_count | Active ex-ante input | Log(1 + number of associated gas-linked generators).
7 | Node-static | log1p_linked_gas_node_count | Active ex-ante input | Log(1 + number of distinct linked gas-node identifiers).
8 | Node-exposure | substation_hazard_exposure_probability | Active ex-ante input | Forecast or prescribed hazard exposure probability at the substation.
9 | Node-exposure | substation_magnitude_weighted_exposure | Active ex-ante input | Substation exposure weighted by prescribed disturbance magnitude.
10 | Node-exposure | linked_gas_hazard_exposure_probability | Active ex-ante input | Forecast or prescribed hazard exposure at linked gas nodes.
11 | Node-exposure | linked_gas_magnitude_weighted_exposure | Active ex-ante input | Linked-gas-node exposure weighted by prescribed disturbance magnitude.
Global scenario features
No. | Feature level | Feature name | Input status | Brief meaning
1 | Global | magnitude_value | Active ex-ante input | Prescribed magnitude of the disturbance configuration.
2 | Global | peak_pressure | Active ex-ante input | Peak pressure of the prescribed spatial hazard field.
3 | Global | scale_major_normalized | Active ex-ante input | Normalized major-axis scale of the spatial field.
4 | Global | scale_minor_normalized | Active ex-ante input | Normalized minor-axis scale of the spatial field.
5 | Global | orientation_sin | Active ex-ante input | Sine of the spatial-field orientation.
6 | Global | orientation_cos | Active ex-ante input | Cosine of the spatial-field orientation.
7 | Global | family_component_outage | Active ex-ante input | One-hot indicator for component-outage disturbance.
8 | Global | family_capacity_degradation | Active ex-ante input | One-hot indicator for capacity-degradation disturbance.
9 | Global | family_load_shock | Active ex-ante input | One-hot indicator for load-shock disturbance.
10 | Global | family_interdependency_disruption | Active ex-ante input | One-hot indicator for interdependency disruption.
11 | Global | field_family_localized | Active ex-ante input | One-hot indicator for a localized spatial field.
12 | Global | field_family_corridor | Active ex-ante input | One-hot indicator for a corridor spatial field.
13 | Global | field_family_multicenter | Active ex-ante input | One-hot indicator for a multicenter spatial field.

## Performance report
Module II HGNN performance: 7,800 scenarios
Item | Value
Number of scenarios | 7800
Number of graph nodes (substations) | 4894
Node features: 7 static + 4 exposure | 11
Global feature dimension | 13
Feature mode | Ex-ante spatial hazard exposure
Label rule | Severe if terminal DNS ratio ≥ 0.10
Grouping unit | field_id; no overlap between subsets
Train / validation / calibration / test | 5512 / 728 / 728 / 832
Device | cuda
Severe scenarios | 1322
Nonsevere scenarios | 6478
Overall severe prevalence | 16.95%
Static node-feature dimension | 7
Exposure node-feature dimension | 4
Train / validation / calibration / test fields | 53 / 7 / 7 / 8
Test scenarios | 832
Severe test scenarios | 180
Test severe prevalence | 21.63%
Model-selection criterion | Validation average precision
Probability calibration | Platt slope + intercept; calibration set only
Warning-threshold selection | Calibration-set macro-F1
Training seeds | 7, 17, 27, 37, 47
Repeated full-model runs | 5
Evaluation | Held-out test set; 8 independent spatial fields
Code version | module2-spatial-ex-ante-hgnn-v5-7800
Prediction time | Before realized initial damage and secondary propagation
Full HGNN test performance across five seeds
Metric | Mean | Sample SD
Accuracy | 0.92308 | 0.011528
Balanced accuracy | 0.93966 | 0.0043304
Macro-F1 | 0.89711 | 0.013106
Weighted F1 | 0.92642 | 0.010343
Severe precision | 0.75097 | 0.036487
Severe recall | 0.96889 | 0.01648
Severe F1 | 0.84545 | 0.017994
Nonsevere precision | 0.99074 | 0.0047876
Nonsevere recall | 0.91043 | 0.018583
Nonsevere F1 | 0.94877 | 0.0082475
Average precision | 0.95223 | 0.0046456
AUROC | 0.98614 | 0.0013728
Brier score | 0.052512 | 0.0093102
ECE (10 bins) | 0.050348 | 0.018385
Selected probability threshold | 0.40214 | 0.091576
Reporting convention | Mean ± sample SD over five seeds on the same test set. Thresholded metrics use each run’s calibration-selected threshold.
Five-model ensemble: separate test results
Metric | Value
Average precision | 0.9558
AUROC | 0.98742
Brier score | 0.046784
ECE (10 bins) | 0.048401
Learned relation weights across five seeds
Layer | Relation channel | Mean | Sample SD
1 | self | 0.28704 | 0.0098765
1 | power_topology | 0.45753 | 0.01173
1 | gas_linked_node_channel | 0.25543 | 0.0073171
2 | self | 0.26621 | 0.038817
2 | power_topology | 0.50324 | 0.050541
2 | gas_linked_node_channel | 0.23055 | 0.013036
Gas-channel interpretation | Gas-linked substation gate; no gas-pipeline message passing. Relation weights are learned mixing coefficients, not physical importance scores.
Sources and scope
Experiment | module2_hgnn_7800_v1
Input and split definitions | input_and_split_audit.json; run_config.json
Five-seed performance | metrics_by_variant.csv; runs/full_seed*/metrics.json
Additional class metrics | Computed from saved run-level confusion matrices
Ensemble performance | ensemble_summary.json
Relation weights | runs/full_seed*/relation_weights.csv
Label source | Module-I paper_7800_gurobi_lex1e5_20260910_v2
Scope | Synthetic held-out fields; label robustness to solver tolerance is not established.